
**A picture containing text, clipart


Description automatically generated**

**Standard Quick Wire Thermocouple Connector Plug IS-K-MQ Type K IEC**

XE-1411-001



Labfacility are the UK’s leading manufacturer of Temperature Sensors, Thermocouple Connectors and associated Temperature Instrumentation and stockists of Thermocouple Cables. The Company has been trading since 1971 and is ISO 9001 accredited.



**Specifications**

|  |  |
| --- | --- |
| **General Description** | Easy 'jab-in' connection for rapid termination, contacts are polarised to prevent incorrect connection. |
| **Thermocouple Type** | K IEC |
| **Connector Size** | Standard |
| **Connector Type** | Quick Wire Plug |
| **Colour** | Green |
| **Max. Temperature** | 220°C |
| **Pins** | Solid Round Pins |
| **+Positive Contact** | Nickel Chromium |
| **-Negative Contact** | Nickel Alloy |
| **Standards Met** | BS EN 50212:1997. RoHS |

**Ordering Information**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Thermocouple Type** | **Colour Code** | **Size** | **Style** | **Manufacturers Number** | **Order Number** |
| K | IEC | Standard | Quick Wire Plug | IS-K-MQ | XE-1411-001 |