****

**Stainless Steel Penetration Temperature Probe – Type K – IEC**

XE-3804-001



Labfacility are the UK’s leading manufacturer of Temperature Sensors, Thermocouple Connectors and associated Temperature Instrumentation and stockists of Thermocouple Cables. The Company has been trading since 1971 and is ISO 9001 accredited.

**Specifications**

|  |  |
| --- | --- |
| **General Description** | Penetration Probe with a pointed tip |
| **Sensor Type** | K |
| **Calibration** | IEC |
| **Probe Diameter** | 3.3mm |
| **Probe Length** | 300mm |
| **Cable Length** | 2m |
| **Cable Termination** | Miniature Plug |
| **Max. Temperature** | +400°C |

**Ordering Information**

|  |  |  |
| --- | --- | --- |
| **Thermocouple Type** | **Colour Code** | **Order Number** |
| K | IEC | XE-3804-001 |